E. L. Mustee & Sons, Inc.

Manufacturers of Quality Plumbing Products

5431 West 164th Street  Brook Park, OH 44142  216- 267-3100  Fax 216-267-9997

New 4848M Durabase Shower Floor 48x48 White

E.L. Mustee introduces a new square Durabase Shower Floor...the model 4848M 48”x48”. It is made of compression molded fiberglass to create the ideal foundation to for a shower.

If you’re looking to create a large shower that will be both elegant and provide years of service, start with the best…Durabase® Shower Floors, exclusively from Mustee

Design Features:

- Sturdy, 1-piece molded fiberglass construction, slip resistant Starburst® surface

- Integral molded drain with seal for connection to 2" Sch. #40 ABS, PVC or iron DWV sanitary drain pipe. See optional drain seals for 1-1/2" pipe and 2" copper — removable square strainer

- Semi-gloss surface — resistant to mold and mildew, easy to clean

| Model # |  |  | Cu. Ft | Weight |  |  | Price |  |  | List |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | 1-24 | 25-49 | 50+ |  |
|  | Wholesaler Net Price List PL-166 |  |  |  |  |  |  |  |  |  |
| 4848M |  |  | 13.4 | 52 |  |  | $248.78 | $232.50 | $199.95 | $465.00 |

K101-683 Model 4848M