## Sheet1
Item Number | Item Description | Extended Description | List Price | MAP | UPC Code | Weight
406 | 6 IN ROUND 24 IN DUCT SECTION |  | 20 | 18 | 0 26715 02064 5 | 13
407 | 7 IN ROUND 24 IN DUCT SECTION |  | 21 | 19 | 0 26715 01118 6 | 15
408 | 8 IN ROUND 24 IN DUCT SECTION |  | 24 | 22 | 0 26715 22965 9 | 18
410 | 10 IN ROUND 24 IN DUCT SECTION |  | 27 | 24 | 0 26715 02274 8 | 20
413 | TRANSITION-VERTICAL DISCHARGE | 3-1/4 IN X 10 IN TO 8 IN ROUND | 29 | 26 | 0 26715 01599 3 | 2
414 | TRANSITION | 8 IN TO 10 IN ROUND | 43 | 39 | 0 26715 07547 8 | 2
415 | 7 IN ROUND ADJUSTABLE ELBOW |  | 16 | 14 | 0 26715 00796 7 | 6
418 | 10 IN ROUND ADJUSTABLE ELBOW |  | 37 | 33 | 0 26715 05945 4 | 3
419 | 6 IN ROUND ADJUSTABLE ELBOW |  | 17 | 15 | 0 26715 01600 6 | 2
421 | 10 IN DAMPER |  | 39 | 35 | 0 26715 03900 5 | 1
432 | 8 IN ROUND ADJUSTABLE ELBOW |  | 27 | 24 | 0 26715 22966 6 | 3
437 | 10 IN ROUND ROOF CAP |  | 181 | 163 | 0 26715 03907 4 | 12
441 | 10 IN ROUND WALL CAP |  | 89 | 80 | 0 26715 03908 1 | 4
459 | TRANSITION | 3-1/4 IN X 14 IN TO 8 IN ROUND | 38 | 34 | 0 26715 15379 4 | 3
472 | TRANSITION-REDUCER | 10 IN TO 8 IN | 46 | 41 | 0 26715 02281 6 | 4
634 | ROOF CAP | 3-1/4 IN X 10 IN OR UP TO 8 IN ROUND | 43 | 39 | 0 26715 00265 8 | 6
639 | 3-1/4 IN X 10 IN WALL CAP |  | 29 | 26 | 0 26715 00264 1 | 3
641 | 6 IN ROUND WALL CAP |  | 60 | 54 | 0 26715 01137 7 | 2
643 | 8 IN ROUND WALL CAP |  | 77 | 69 | 0 26715 02294 6 | 3
647 | 7 IN ROUND WALL CAP |  | 67 | 60 | 0 26715 05212 7 | 2
412H | TRANSITION-VERTICAL DISCHARGE | 3-1/4 IN X 10 IN TO 7 IN ROUND | 26 | 23 | 0 26715 00268 9 | 2
610FA | ALUM FRESH AIR INLET WALL CAP | 10 IN ROUND DUCT | 116 | 104 | 0 26715 21105 0 | 3
641FA | ALUM FRESH AIR INLET WALL CAP | 6 IN ROUND DUCT | 49 | 44 | 0 26715 19206 9 | 3
643FA | ALUM FRESH AIR INLET WALL CAP | 8 IN ROUND DUCT | 73 | 66 | 0 26715 19207 6 | 3
ABWPD36SB | SS 36 IN BACKSPLASH | WPD28I/PIK33D | 668 | 601 | 0 26715 16840 8 | 19
ABWPD48SB | SS 48 IN BACKSPLASH | WPD38I/WPD39M | 725 | 653 | 0 26715 16841 5 | 22
ACR3 | REMOTE CONTROL/HANDHELD | P195P/SPHERA/PK22 SERIES | 89 | 80 | 0 26715 23145 4 | 2
ACRD | REMOTE CONTROL/BUTTON | D49M SERIES | 137 | 123 | 0 26715 23430 1 | 3
ACVPD10 | 10 IN ROUND FRONT PANEL | D49M SERIES | 51 | 46 | 0 26715 23436 3 | 3
ACVPD8 | 8 IN ROUND FRONT PANEL | D49M SERIES | 51 | 46 | 0 26715 23499 8 | 3
ACW1WH | WH LINKLOGIC WALL CONTROL | SINGLE GANG | 171 | 154 | 0 26715 18360 9 | 1
AEDD2 | DUCT/1-7/8 IN X 19 IN X 2 IN |  | 73 | 66 | 0 26715 23440 0 | 8
AEIC34SB | 10 - 11 FT FLUE EXTENSION/DUCTED |  | 1071 | 964 | 0 26715 22925 3 | 44
AEIC34SBN | 10 - 11 FT FLUE EXTENSION/NON-DUCTED |  | 1071 | 964 | 0 26715 22924 6 | 44
AEIC35SB | FLUE KIT (DUCTED/NON-DUCT) | IC35 SERIES | 646 | 581 | 0 26715 19932 7 | 17
AEIP420SB | SS 30 IN X 42 IN FLUE EXTENSION | IP29 SERIES | 1409 | 1268 | 0 26715 18047 9 | 78
AEIP422SB | SS 12 IN X 42 IN FLUE EXTENSION | IP29 SERIES | 761 | 685 | 0 26715 18044 8 | 28
AEIP424SB | SS 24 IN X 42 IN FLUE EXTENSION | IP29 SERIES | 1049 | 944 | 0 26715 18046 2 | 41
AEIP428SB | SS 18 IN X 42 IN FLUE EXTENSION | IP29 SERIES | 865 | 779 | 0 26715 18045 5 | 34
AEIP540SB | SS 30 IN X 54 IN FLUE EXTENSION | IP29 SERIES | 1580 | 1422 | 0 26715 18051 6 | 81
AEIP542SB | SS 12 IN X 54 IN FLUE EXTENSION | IP29 SERIES | 854 | 769 | 0 26715 18048 6 | 32
AEIP544SB | SS 24 IN X 54 IN FLUE EXTENSION | IP29 SERIES | 1221 | 1099 | 0 26715 18050 9 | 48
AEIP548SB | SS 18 IN X 54 IN FLUE EXTENSION | IP29 SERIES | 1037 | 933 | 0 26715 18049 3 | 42
AEIPB9SB | DUCTED FLUE EXTENSION | 10 FT - 11 FT CEILING (IPB9) | 1154 | 1039 | 0 26715 22920 8 | 43
AEIPP9SB | DUCTED FLUE EXTENSION | 10 FT - 11 FT CEILING (IPP9) | 1154 | 1039 | 0 26715 22794 5 | 33
AEWC345IQSB | 10 - 11 FT DUCTED FLUE EXTENSION | MOST WC SERIES | 509 | 458 | 0 26715 22788 4 | 15
AEWC345IQSBN | NON-DUCTED FLUE EXTENSION | 10 FT - 11 FT CEILING-MOST WC SERIES | 509 | 458 | 0 26715 22787 7 | 24
AEWC53SB | 10 - 11 FT DUCTED FLUE EXTENSION |  | 626 | 563 | 0 26715 25406 4 | 51
AEWD5 | EXTENSION CABLE | D49M SERIES | 72 | 65 | 0 26715 23441 7 | 2
AEWP28302SB | SS DECORATIVE SOFFIT FLUE/30 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 290 | 261 | 0 26715 22945 1 | 12
AEWP28362SB | SS DECORATIVE SOFFIT FLUE/36 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 296 | 266 | 0 26715 22946 8 | 13
AEWP28422SB | SS DECORATIVE SOFFIT FLUE/42" | ADDS 12" TO TOP HEIGHT OF HOOD | 319 | 287 | 0 26715 22947 5 | 13
AEWP28482SB | SS DECORATIVE SOFFIT FLUE/48 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 342 | 308 | 0 26715 22948 2 | 13
AEWP28542SB | SS DECORATIVE SOFFIT FLUE/54 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 365 | 329 | 0 26715 22949 9 | 13
AEWP28602SB | SS DECORATIVE SOFFIT FLUE/60 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 426 | 383 | 0 26715 22950 5 | 17
AEWP302SB | SS DECORATIVE SOFFIT FLUE/30 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 328 | 295 | 0 26715 17678 6 | 26
AEWP306SB | SS DECORATIVE SOFFIT FLUE-6 IN | WP29 MODEL - 30 IN | 198 | 178 | 0 26715 17672 4 | 24
AEWP362SB | SS DECORATIVE SOFFIT FLUE-12 IN | WP29 MODEL - 36 IN | 354 | 319 | 0 26715 17679 3 | 27
AEWP366SB | SS DECORATIVE SOFFIT FLUE-6 IN | WP29 MODEL - 36 IN | 225 | 203 | 0 26715 17673 1 | 25
AEWP422SB | SS DECORATIVE SOFFIT FLUE/42 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 381 | 343 | 0 26715 17680 9 | 29
AEWP426SB | SS DECORATIVE SOFFIT FLUE/42 IN | ADDS 6 IN TO TOP HEIGHT OF HOOD | 248 | 223 | 0 26715 17674 8 | 27
AEWP482SB | SS DECORATIVE SOFFIT FLUE-12 IN | WP29 MODEL - 48 IN | 406 | 365 | 0 26715 17681 6 | 30
AEWP486SB | SS DECORATIVE SOFFIT FLUE-6 IN | WP29 MODEL - 48 IN | 276 | 248 | 0 26715 17675 5 | 28
AEWP542SB | SS DECORATIVE SOFFIT FLUE-12 IN | WP29 MODEL - 54 IN | 431 | 388 | 0 26715 17682 3 | 44
AEWP546SB | SS DECORATIVE SOFFIT FLUE/54 IN | ADDS 6 IN TO TOP HEIGHT OF HOOD | 305 | 275 | 0 26715 17676 2 | 40
AEWP602SB | SS DECORATIVE SOFFIT FLUE/60 IN | ADDS 12 IN TO TOP HEIGHT OF HOOD | 457 | 411 | 0 26715 17683 0 | 45
AEWP606SB | SS DECORATIVE SOFFIT FLUE-6 IN | WP29 MODEL - 60 IN | 312 | 281 | 0 26715 17677 9 | 41
AEWPB9SB | 10-11 FT FLUE EXTENSION/DUCTED |  | 537 | 483 | 0 26715 25338 8 | 33
AEWPB9SBN | 10-11 FT FLUE EXTENSION/NON-DUCTED |  | 537 | 483 | 0 26715 25337 1 | 33
AEWPD3054SB | SS DECORATIVE FLUE COVER-27 IN DEPTH | ADJUSTABLE 30 IN TO 54 IN | 616 | 554 | 0 26715 22741 9 | 42
AEWPD3054SBE | SS TELESCOPIC FLUE-16 IN DEPTH | ADJUSTABLE 30 IN TO 54 IN | 638 | 574 | 0 26715 22742 6 | 43
AEWPD318SB | SS DECORATIVE FLUE COVER-18 IN | STD 27 IN DEPTH/FOR 9 FT CEILING | 235 | 212 | 0 26715 20397 0 | 12
AEWPD318SBE | SS DECORATIVE FLUE COVER-18 IN | EXT 30 IN DEPTH/FOR 9 FT CEILING | 246 | 221 | 0 26715 20400 7 | 14
AEWPD330SB | SS DECORATIVE FLUE COVER-30 IN | STD 27 IN DEPTH/FOR 10 FT CEILING | 320 | 288 | 0 26715 20398 7 | 20
AEWPD330SBE | SS DECORATIVE FLUE COVER-30 IN | EXT 30 IN DEPTH/FOR 10 FT CEILING | 321 | 289 | 0 26715 20401 4 | 22
AEWPD36SB | SS DECORATIVE FLUE COVER-6 IN | STD 27 IN DEPTH/FOR 8 FT CEILING | 211 | 190 | 0 26715 20396 3 | 5
AEWPD36SBE | SS DECORATIVE FLUE COVER-30 IN DEPTH |  | 225 | 203 | 0 26715 20399 4 | 5
AEWPP9SB | DUCTED FLUE EXTENSION | 10 FT - 11 FT CEILING (WPP9) | 490 | 441 | 0 26715 22792 1 | 22
AEWPP9SBN | FLUE EXTENSION/NON-DUCT | 10 - 11 FT CEILING | 490 | 441 | 0 26715 22791 4 | 15
AEWTT328SB | SS 48 IN FLUE EXTENSION | WTT32I48SB MODEL ONLY | 351 | 316 | 0 26715 20890 6 | 27
AEWTT32SB | SS FLUE EXTENSION | WTT32 SERIES (30 IN /36 IN /42 IN) | 351 | 316 | 0 26715 20889 0 | 21
AFCCC34 | CHARCOAL FILTERS/QTY 6/ANKCC34 |  | 153 | 138 | 0 26715 25408 8 | 2
AFCD | RECIRCULATING FILTER (REPLACEMENT) |  | 27 | 24 | 0 26715 23432 5 | 2
AFCICF6 | CHARCOAL FILTER (REPLACEMENT) | ICF6IQ MODEL | 48 | 43 | 0 26715 22922 2 | 2
AFCIM32 | CHARCOAL FILTERS (REPLACEMENT) | VERTIGO DOUBLE SERIES | 95 | 86 | 0 26715 20026 9 | 2
AFCIM42 | CHARCOAL FILTER (REPLACEMENT) | SPHERA SERIES | 48 | 43 | 0 26715 20421 2 | 2
AFCP195P52 | RECIRCULATING FILTER 21-3/16 IN | (NON-DUCTED) | 21 | 19 | 0 26715 20870 8 | 1
AFCP195P70 | RECIRCULATING FILTER 28-9/16 IN | (NON-DUCTED) | 23 | 21 | 0 26715 20871 5 | 1
AFCROUND2 | CHARCOAL FILTER REPLACEMENT |  | 119 | 107 | 0 26715 22795 2 | 10
AFCWC345 | CHARCOAL FILTER (REPLACEMENT) |  | 48 | 43 | 0 26715 22789 1 | 2
AFCWC46 | CHARCOAL FILTER (REPLACEMENT) | WC46IQ MODELS | 48 | 43 | 0 26715 22918 5 | 2
AFCWC53 | CHARCOAL FILTER (REPLACEMENT) | WC53 | 55 | 50 | 0 26715 25607 5 | 2
AFCWPB9 | NON-DUCT REPLACEMENT FILTER |  | 178 | 160 | 0 26715 25340 1 | 2
AFCWTT32 | REPLACEMENT FILTERS (30 IN MODEL) |  | 52 | 47 | 0 26715 20891 3 | 2
AFCWTT326 | REPLACEMENT FILTER | PACK OF 2/36 IN AND 42 IN MODELS | 57 | 51 | 0 26715 20979 8 | 2
AGPCC34W | WH GLASS PANELS | CIRRUS SERIES | 719 | 647 | 0 26715 22745 7 | 55
AL3036 | SS 36 IN LINER | PK2230 | 302 | 272 | 0 26715 20905 7 | 12
AL3042 | SS 42 IN LINER | PK2230 | 319 | 287 | 0 26715 20906 4 | 15
AL3948 | SS 48 IN LINER | PK2239 | 342 | 308 | 0 26715 20907 1 | 15
AL3954 | SS 54 IN LINER | PK2239 | 355 | 320 | 0 26715 20908 8 | 19
AL4554 | SS 54 IN LINER | PK2245 | 355 | 320 | 0 26715 20909 5 | 18
AL4560 | SS 60 IN LINER | PK2245 | 374 | 337 | 0 26715 20910 1 | 19
ALP30 | SS 30 IN AMBIENT LIGHT PANEL | L5230 / L7030 | 264 | 238 | 0 26715 15771 6 | 8
ALP36 | SS 36 IN AMBIENT LIGHT PANEL | L3336S / L7036 / L2936 | 282 | 254 | 0 26715 15772 3 | 9
ALP42 | SS 42 IN AMBIENT LIGHT PANEL | L3342S/ L2942 | 282 | 254 | 0 26715 15773 0 | 10
ALP48 | SS 48 IN AMBIENT LIGHT PANEL | L4548S / L7048 / L3848 | 363 | 327 | 0 26715 15774 7 | 11
ALP54 | SS 54 IN AMBIENT LIGHT PANEL | L4554S / L3854 | 381 | 343 | 0 26715 17309 9 | 11
ALP60 | SS 60 IN AMBIENT LIGHT PANEL | L4560S / AL4560 | 395 | 356 | 0 26715 15775 4 | 13
ANKCC34 | NON-DUCT KIT/CC34IQ |  | 263 | 237 | 0 26715 25407 1 | 4
ANKCP55 | NON-DUCTED KIT | CP5 MODELS ONLY | 208 | 187 | 0 26715 22914 7 | 5
ANKD | NON-DUCTED RECIRCULATION KIT | D49M SERIES | 196 | 176 | 0 26715 23431 8 | 7
ANKIBF4 | NON-DUCKTED KIT/IBF4 |  | 198 | 178 | 0 26715 20495 3 | 4
ANKIC34 | NON-DUCTED KIT | IC34IQ | 217 | 195 | 0 26715 22927 7 | 8
ANKWBF4 | NON-DUCTED KIT/WBFF |  | 198 | 178 | 0 26715 20496 0 | 6
ANKU10 | NON-DUCTED RECIRCULATION KIT | U102 SERIES | 119 | 107 | 0 26715 16536 0 | 3
ANKUP302RSB | NON-DUCT KIT/30 IN | UP27M30SB MODEL | 359 | 324 | 0 26715 22951 2 | 26
ANKUP362RSB | NON-DUCT KIT/36 IN | UP27M36SB MODEL | 393 | 354 | 0 26715 22952 9 | 22
ANKUP422RSB | NON-DUCT KIT/42 IN | UP27M42SB MODEL | 429 | 387 | 0 26715 22953 6 | 32
ANKUP482RSB | NON-DUCT KIT/48 IN | UP27M48SB MODEL | 490 | 441 | 0 26715 22954 3 | 34
ANKWC345 | NON-DUCT KIT | MOST WC SERIES | 217 | 195 | 0 26715 22790 7 | 19
ANKWC46 | NON-DUCTED KIT | WC46IQ MODELS | 217 | 195 | 0 26715 22919 2 | 19
ANKWC53 | NON-DUCT KIT/WC53I | INCLUDES FLUE EXTENSION | 314 | 283 | 0 26715 25417 0 | 20
ANKWP306RSB | NON-DUCTED KIT/30 IN | WP29M304SB MODEL | 392 | 353 | 0 26715 22955 0 | 21
ANKWP366RSB | NON-DUCT KIT/36 IN | WP29M364SB MODEL | 431 | 388 | 0 26715 22956 7 | 28
ANKWP426RSB | NON-DUCTED KIT/42 IN | WP29M424SB MODEL | 471 | 424 | 0 26715 22957 4 | 25
ANKWP486RSB | NON-DUCT KIT/48 IN | WP29M484SB MODEL | 509 | 458 | 0 26715 22958 1 | 34
ANKWPB9 | NON-DUCT KIT | INCLUDES CHARCOAL FILTERS/DIVERTER | 289 | 260 | 0 26715 25339 5 | 10
ANKWPP9 | NON-DUCT KIT | WPP9IQ36SB/WPP9IQ42SB ONLY | 267 | 240 | 0 26715 22793 8 | 19
ANKWTT320 | NON-DUCTED RECIRCULATION KIT | WTT32I30SB MODEL ONLY | 313 | 282 | 0 26715 20887 6 | 12
ANKWTT326 | NON-DUCTED RECIRCULATION KIT | WTT32 36 IN AND 42 IN MODELS ONLY | 322 | 290 | 0 26715 20888 3 | 12
ARP310 | CFM REDUCER KIT | P5 INT BLOWER ONLY | 40 | 36 | 0 26715 18222 0 | 1
ARP6 | CFM REDUCER KIT |  | 40 | 36 | 0 26715 18224 4 | 2
ARP8 | CFM REDUCER KIT |  | 41 | 37 | 0 26715 18225 1 | 2
ATDIP42SB | SS 42 IN DRYWALL TRIM KIT | IP29 SERIES | 299 | 270 | 0 26715 18052 3 | 10
ATDIP54SB | SS 54 IN TRIM KIT/DRYWALL | IP29M54SB MODEL | 327 | 294 | 0 26715 18053 0 | 13
ATKD30SB | SS 30 IN TRIM KIT/RANGE | D49M30SB MODEL | 62 | 56 | 0 26715 23433 2 | 7
ATKD36SB | SS 36 IN TRIM KIT/RANGE | D49M36SB MODEL | 68 | 61 | 0 26715 23434 9 | 9
ATKD48SB | SS 48 IN TRIM KIT/RANGE | D49M48SB MODEL | 83 | 75 | 0 26715 23435 6 | 11
ATSKD30 | 30 IN TRIM SEAL KIT/GAS COOKTOP | D49M30SB MODEL | 62 | 56 | 0 26715 24180 4 | 7
ATSKD36 | 36 IN TRIM SEAL KIT/GAS COOKTOP | D49M36SB MODEL | 68 | 61 | 0 26715 24181 1 | 9
ATSKD48 | 48 IN TRIM SEAL KIT/GAS COOKTOP | D49M48SB MODEL | 83 | 75 | 0 26715 24182 8 | 11
ATTD1 | TRIM ACCESSORIES | D49M SERIES | 94 | 85 | 0 26715 23437 0 | 5
AVDKD10 | TRANSITION/1-7/8 IN X 19 IN TO 10 IN ROUND | D49M SERIES | 125 | 113 | 0 26715 23459 2 | 4
AVDKD219 | TRANSITION/1-7/8 IN X 19 IN RETANGULAR | D49M SERIES | 52 | 47 | 0 26715 23438 7 | 7
AVDKD8 | TRANSITION/1-7/8 IN X 19 IN TO 8 IN ROUND | D49M SERIES | 116 | 104 | 0 26715 23439 4 | 4
AVDKD8810 | TRANSITION/TWO 8 IN TO 10 IN ROUND | D49M SERIES | 142 | 128 | 0 26715 24190 3 | 8
AWWPD336SB | 3 IN WALL EXTENSION - 36 IN HOOD |  | 306 | 275 | 0 26715 20403 8 | 14
AWWPD342SB | 3 IN WALL EXTENSION - 42 IN HOOD |  | 325 | 293 | 0 26715 25539 9 | 18
AWWPD348SB | 3 IN WALL EXTENSION - 48 IN HOOD |  | 343 | 309 | 0 26715 20402 1 | 17
AWWPD360SB | 3 IN WALL EXTENSION - 60 IN HOOD |  | 381 | 343 | 0 26715 20404 5 | 20
CC34E6SB | CIRRUS CEILING MOUNTED HOOD | 43-3/8 IN X 27-1/2 IN EXT BLOWER REQ | 2105 | 1895 | 0 26715 20659 9 | 80
CC34IQSB | CIRRUS CEILING HOOD W/IQ6 | 43-3/8 IN W/IQ600CFM INT BLOWER | 2579 | 2321 | 0 26715 22740 2 | 65
CP34I309SB | 28-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/290CFM INT BLOWER | 914 | 823 | 0 26715 19015 7 | 45
CP34I369SB | 34-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/290CFM INT BLOWER | 956 | 860 | 0 26715 19016 4 | 48
CP34I429SB | 40-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/290CFM INT BLOWER | 1030 | 927 | 0 26715 19017 1 | 54
CP35I309SB | 28-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/600CFM INT BLOWER | 914 | 823 | 0 26715 18649 5 | 45
CP35I369SB | 34-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/600CFM INT BLOWER | 956 | 860 | 0 26715 18650 1 | 48
CP35I429SB | 40-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/600CFM INT BLOWER | 1030 | 927 | 0 26715 18651 8 | 54
CP37I482SB | 46-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | W/1200CFM INT BLOWER | 1464 | 1318 | 0 26715 18652 5 | 63
CP55IQ369SB | 34-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/IQ6 INT BLOWER | 1719 | 1547 | 0 26715 22821 8 | 51
CP55IQ429SB | 40-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/IQ6 INT BLOWER | 1877 | 1689 | 0 26715 22822 5 | 55
CP57E362SB | 34-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | IN-LINE OR EXT BLOWER REQUIRED | 1315 | 1184 | 0 26715 22829 4 | 43
CP57E482SB | 46-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | IN-LINE OR EXT BLOWER REQUIRED | 1512 | 1361 | 0 26715 22830 0 | 55
CP57E602SB | 58-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | IN-LINE OR EXT BLOWER REQUIRED | 1789 | 1610 | 0 26715 22831 7 | 66
CP57IQT369SB | 34-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/IQ12 INT BLOWER | 2076 | 1868 | 0 26715 22823 2 | 59
CP57IQT482SB | 46-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | W/IQ12 INT BLOWER | 2234 | 2011 | 0 26715 22825 6 | 73
CP57IQT489SB | 46-3/8 IN X 19-1/4 IN X 11 IN BUILT-IN | W/IQ12 INT BLOWER | 2184 | 1966 | 0 26715 22824 9 | 70
CP57IQT542SB | 52-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | W/IQ12 INT BLOWER | 2560 | 2304 | 0 26715 22826 3 | 80
CP57IQT602SB | 58-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | W/IQ12 INT BLOWER | 2668 | 2401 | 0 26715 22827 0 | 83
CP57IQT662SB | 64-3/8 IN X 22-1/2 IN X 11 IN BUILT-IN | W/IQ12 INT BLOWER | 2866 | 2579 | 0 26715 22828 7 | 86
CPDI362SB | SS 36 IN OUTDOOR LINER HOOD | W/1200CFM INT BLOWER | 1335 | 1202 | 0 26715 20422 9 | 73
CPDI482SB | SS 48 IN OUTDOOR LINER HOOD | W/1200CFM INT BLOWER | 1532 | 1379 | 0 26715 20423 6 | 89
CPDI602SB | SS 60 IN OUTDOOR LINER HOOD | W/1200CFM INT BLOWER | 1927 | 1734 | 0 26715 20424 3 | 102
D49M30SB | SS 30 IN BUILT-IN DOWNDRAFT | INTERNAL, INLINE OR EXT BLOWER REQUIRED | 1842 | 1658 | 0 26715 23420 2 | 67
D49M36SB | SS 36 IN BUILT-IN DOWNDRAFT | INTERNAL, INLINE OR EXT BLOWER REQUIRED | 1909 | 1718 | 0 26715 23421 9 | 77
D49M48SB | SS 48 IN BUILT-IN DOWNDRAFT | INTERNAL, INLINE OR EXT BLOWER REQUIRED | 2213 | 1992 | 0 26715 23422 6 | 107
EB12 | BRSH ALUM 1200CFM EXT BLOWER |  | 1068.22 | 961 | 0 26715 13943 9 | 44
EB15 | BRSH ALUM 1500CFM EXT BLOWER |  | 1331.22 | 1198 | 0 26715 13944 6 | 52
EB6 | BRSH ALUM 600CFM EXT BLOWER |  | 664 | 598 | 0 26715 10653 0 | 35
EB9 | BRSH ALUM 900CFM EXT BLOWER |  | 789 | 710 | 0 26715 10654 7 | 38
FEXTK3139BL | BL DECORATIVE FLUE EXTENSION | DUCTED (NO SLOTS) | 367 | 330 | 0 26715 15053 3 | 8
FEXTK3139SS | SS DECORATIVE FLUE EXTENSION | DUCTED (NO SLOTS) | 367 | 330 | 0 26715 15054 0 | 8
FEXTK34SS | SS DECORATIVE FLUE EXTENSION | DUCTED (NO SLOTS) | 509 | 458 | 0 26715 17507 9 | 17
FEXTK34SSN | SS DECORATIVE FLUE EXTENSION | NON-DUCTED W/SLOTS | 509 | 458 | 0 26715 17508 6 | 8
FILTEREB40 | CHARCOAL FILTER (REPLACEMENT) |  | 76 | 68 | 0 26715 15235 3 | 2
FILTERK3490CM | CHARCOAL FILTER 35-7/16 IN HOODS | REQUIRED FOR RECIRCULATING | 38 | 34 | 0 26715 10915 9 | 1
FILTERSQUARE | CHARCOAL FILTER | REQUIRED FOR RECIRCULATING | 50 | 45 | 0 26715 15236 0 | 2
GU10 | LIGHT BULBS |  | 15 | 14 | 0 26715 16883 5 | 1
IBF4I36SB | SS 36 IN ISLAND HOOD/450 CFM |  | 1452.67 | 1307 | 0 26715 20492 2 | 72
IC34E100SB | SS 39-3/8 IN X 27-3/4 IN ISLAND HOOD | IN-LINE OR EXT BLOWER REQUIRED | 2444 | 2200 | 0 26715 22739 6 | 122
IC34IQ100SB | SS 39-3/8 IN X 27-3/4 IN ISLAND HOOD | W/IQ6 INT BLOWER | 2932 | 2639 | 0 26715 22738 9 | 125
IC35I90B | BL GLS ISLAND HOOD-INT BLOWER | 35-7/16 IN X 13-3/4 IN | 2339 | 2105 | 0 26715 19908 2 | 57
IC35I90W | SS WH ISLAND HOOD-INT BLOWER | 35-7/16 IN X 13-3/4 IN | 2339 | 2105 | 0 26715 19909 9 | 57
ILB11 | GALV 1100CFM IN-LINE BLOWER |  | 1008 | 907 | 0 26715 16928 3 | 70
ILB3 | GALV 280CFM IN-LINE BLOWER |  | 441.78 | 398 | 0 26715 16925 2 | 31
ILB6 | GALV 600CFM IN-LINE BLOWER |  | 690.67 | 622 | 0 26715 16926 9 | 48
ILB9 | GALV 800CFM IN-LINE BLOWER |  | 854 | 769 | 0 26715 16927 6 | 70
IM32I100SP | VERTIGO DOUBLE ISLAND HOOD | 39-3/8 IN X 19-3/4 IN INT 450 RECIR | 3474 | 3127 | 0 26715 19911 2 | 99
IM42I50W | WH SPHERA ISLAND HOOD-INT BLOW | 19-7/8 IN INT 250 RECIR | 2339 | 2105 | 0 26715 20260 7 | 45
IP29M42SB | SS 42 IN X 32 IN ISLAND HOOD | BLOWER REQUIRED | 3557 | 3202 | 0 26715 17658 8 | 89
IP29M54SB | SS 54 IN X 32 IN ISLAND HOOD | BLOWER REQUIRED | 3950 | 3555 | 0 26715 17659 5 | 108
IPB9E48SB | SS 48" X 27" ISLAND HOOD | IN-LINE OR EXT BLOWER REQUIRED | 2932 | 2639 | 0 26715 22736 5 | 123
IPB9IQT48SB | SS 48 IN X 27 IN ISLAND HOOD | W/ IQ12 INT BLOWER | 3903 | 3513 | 0 26715 22735 8 | 136
IPP9E42SB | SS 42 IN X 30 IN ISLAND HOOD | IN-LINE OR EXT BLOWER REQUIRED | 3294 | 2965 | 0 26715 22734 1 | 120
IPP9IQT42SB | SS 42 IN X 30 IN ISLAND HOOD | W/IQ12 INT BLOWER | 3783 | 3405 | 0 26715 22733 4 | 125
IQ12 | 1200CFM INTERNAL BLOWER W/GPS |  | 1076.67 | 969 | 0 26715 22960 4 | 31
IQ6 | 600CFM INTERNAL BLOWER W/GPS |  | 730.67 | 658 | 0 26715 22959 8 | 20
K313930BL | BL 30 IN CHIMNEY HOOD | W/400CFM INT BLOWER | 1336 | 1202 | 0 26715 15045 8 | 39
K313930SS | SS 30 IN CHIMNEY HOOD | W/400CFM INT BLOWER | 1336 | 1202 | 0 26715 15043 4 | 39
K313936BL | BL 36 IN CHIMNEY HOOD | W/400CFM INT BLOWER | 1406 | 1265 | 0 26715 15047 2 | 42
K313936SS | SS 36 IN CHIMNEY HOOD | W/400CFM INT BLOWER | 1406 | 1265 | 0 26715 15378 7 | 42
K313942SS | SS 42 IN CHIMNEY HOOD | W/400CFM INT BLOWER | 1575 | 1418 | 0 26715 15048 9 | 45
K3490CMSS | SS 35-7/16 IN CHIMNEY HOOD | W/500CFM INT BLOWER | 1172 | 1055 | 0 26715 10080 4 | 58
L3336S | SS 36 IN LINER | PIK33 | 276 | 248 | 0 26715 16363 2 | 14
L3342S | SS 42 IN LINER | PIK33 | 291 | 262 | 0 26715 16364 9 | 16
L4548S | SS 48 IN LINER | PIK45 | 307 | 276 | 0 26715 16365 6 | 17
L4554S | SS 54 IN LINER | PIK45 | 324 | 292 | 0 26715 17280 1 | 22
L4560S | SS 60 IN LINER | PIK45 | 340 | 306 | 0 26715 16366 3 | 21
L5230 | SS 30 IN LINER | P1951M52CM | 240 | 216 | 0 26715 15763 1 | 13
L7030 | SS 30 IN LINER | P195 70CM | 240 | 216 | 0 26715 15764 8 | 13
L7036 | SS 36 IN LINER | P195 70CM | 276 | 248 | 0 26715 15765 5 | 15
L7048 | SS 48 IN LINER | P195 70CM | 307 | 276 | 0 26715 15766 2 | 17
MD10S | MAKE-UP AIR DAMPER-10 IN | DAMPER ONLY | 250 | 225 | 0 26715 21104 3 | 5
MD10T | MAKE-UP AIR DAMPER-10 IN |  | 261 | 235 | 0 26715 21103 6 | 7
MD10TU | MAKE-UP AIR DAMPER-10 IN | W/PRESSURE SENSOR KIT | 297 | 267 | 0 26715 21102 9 | 7
MD6S | MAKE-UP AIR SLAVE DAMPER-6 IN | DAMPER ONLY | 147 | 132 | 0 26715 20418 2 | 4
MD6T | MAKE-UP AIR DAMPER-6 IN |  | 145 | 131 | 0 26715 19203 8 | 5
MD6TU | MAKE-UP AIR DAMPER-6 IN | W/ PRESSURE SENSOR KIT | 204 | 184 | 0 26715 20378 9 | 5
MD8S | MAKE-UP AIR SLAVE DAMPER-8 IN | DAMPER ONLY | 162 | 146 | 0 26715 20419 9 | 4
MD8T | MAKE-UP AIR DAMPER-8 IN |  | 160 | 144 | 0 26715 19204 5 | 5
MD8TU | MAKE-UP AIR DAMPER-8 IN | W/ PRESSURE SENSOR KIT | 225 | 203 | 0 26715 20379 6 | 6
NDK3139 | NON-DUCTED RECIRCULATION KIT | FILTEREB40, DIVERTER, COLLAR | 115 | 104 | 0 26715 15051 9 | 3
P12 | 1200CFM INTERNAL BLOWER |  | 740.22 | 666 | 0 26715 10652 3 | 43
P195ES70SB | SS 27-1/2 IN PWR PACK RANGE HOOD | W/370CFM INT BLOWER | 584 | 526 | 0 26715 20668 1 | 27
P195P1M52SB6 | SS 21-3/16 IN POWER PACK/6 IN DUCT | W/600CFM INT BLOWER | 808 | 727 | 0 26715 23035 8 | 36
P195P1M70SB6 | SS 28-9/16 IN POWER PACK/6 IN DUCT | W/600CFM INT BLOWER | 864 | 778 | 0 26715 23036 5 | 38
P195P2M70SB | SS 28-9/16 IN POWER PACK RANGE HOOD | W/1200CFM INT BLOWER | 1038 | 934 | 0 26715 20666 7 | 45
P3 | 300CFM INTERNAL BLOWER |  | 476 | 428 | 0 26715 22961 1 | 20
P5 | 500CFM INTERNAL BLOWER |  | 405 | 365 | 0 26715 12434 3 | 18
P6 | 600CFM INTERNAL BLOWER |  | 478.22 | 430 | 0 26715 10651 6 | 27
P8 | 900CFM INTERNAL BLOWER |  | 738 | 664 | 0 26715 12435 0 | 26
PF6 | 600CFM INTERNAL BLOWER | D49M SERIES | 315 | 284 | 0 26715 23428 8 | 22
PIK33 | SS 33-3/4 IN PRO-INSERT | BLOWER REQUIRED | 805 | 725 | 0 26715 15757 0 | 40
PIK45 | SS 45-3/4 IN PRO-INSERT | BLOWER REQUIRED | 947 | 852 | 0 26715 15758 7 | 51
PK2230 | SS 27-3/4 IN POWER PACK/RANGE | W/DUAL IQ BLOWER | 1374 | 1237 | 0 26715 20900 2 | 50
PK2239 | SS 36-1/2 IN POWER PACK/RANGE | W/DUAL IQ BLOWER | 1499 | 1349 | 0 26715 20901 9 | 56
PK2245 | SS 43-7/16 IN POWER PACK/RANGE | W/DUAL IQ BLOWER | 1648 | 1483 | 0 26715 20902 6 | 62
PKEX2239 | SS 36-1/2 IN POWER PACK/RANGE | INLINE OR EXT BLOWER REQUIRED | 964 | 868 | 0 26715 20903 3 | 39
PKEX2245 | SS 43-7/16 IN POWER PACK/RANGE | INLINE OR EXT BLOWER REQUIRED | 1137 | 1023 | 0 26715 20904 0 | 43
RMP3004 | SS 30 IN BACKSPLASH | K260A / K210A | 429 | 386 | 0 26715 15324 4 | 23
RMP3604 | SS 36 IN BACKSPLASH | K260A / K210A / PIK | 462 | 416 | 0 26715 15325 1 | 23
RMP4204 | SS 42 IN BACKSPLASH | UP26M / WP28M | 487 | 438 | 0 26715 15326 8 | 29
RMP4804 | SS 48 IN BACKSPLASH | K260A / K210A / PIK | 521 | 469 | 0 26715 15327 5 | 30
RMP5404 | SS 54 IN BACKSPLASH | WP28M | 553 | 498 | 0 26715 15328 2 | 36
RMP6004 | SS 60 IN BACKSPLASH | WP28M | 587 | 528 | 0 26715 15329 9 | 49
ROUNDFILTER | ROUND FILTER | WAS ROUND FILTER | 79 | 71 | 0 26715 08370 1 | 3
SMD6 | 6 IN MAKE-UP AIR DAMPER |  | 227 | 204 | 0 26715 19201 4 | 5
SMD8 | 8 IN MAKE-UP AIR DAMPER |  | 239 | 215 | 0 26715 19202 1 | 6
T460 | TRANSITION/3 1/4 IN X 14 IN TO 7 IN ROUND |  | 30 | 27 | 0 26715 16881 1 | 2
T486 | TRANSITION/8 IN TO 6 IN ROUND REDUCER |  | 29 | 26 | 0 26715 22964 2 | 2
T487 | TRANSITION/8 IN TO 7 IN ROUND REDUCER |  | 29 | 26 | 0 26715 20786 2 | 2
U10230SBI | SS 30 IN BUILT-IN HOOD | W/500CFM INT BLOWER | 1210 | 1089 | 0 26715 16504 9 | 40
U10236SBI | SS 36 IN BUILT-IN HOOD | W/500CFM INT BLOWER | 1278 | 1150 | 0 26715 16510 0 | 44
U10242SBE | SS 42 IN BUILT-IN HOOD | IN-LINE OR EXT BLOWER REQUIRED | 1320 | 1188 | 0 26715 16516 2 | 49
UP26M30SB | SS 30 IN PRO HOOD | BLOWER REQUIRED | 838 | 754 | 0 26715 22937 6 | 30
UP26M36SB | SS 36 IN PRO HOOD | BLOWER REQUIRED | 890 | 801 | 0 26715 22938 3 | 32
UP26M42SB | SS 42 IN PRO HOOD | BLOWER REQUIRED | 1049 | 944 | 0 26715 22939 0 | 38
UP26M48SB | SS 48 IN PRO HOOD | BLOWER REQUIRED | 1090 | 981 | 0 26715 22940 6 | 41
UP27M30SB | SS 30 IN PRO HOOD | BLOWER REQUIRED | 1554 | 1399 | 0 26715 22941 3 | 41
UP27M36SB | SS 36 IN PRO HOOD | BLOWER REQUIRED | 1623 | 1461 | 0 26715 22942 0 | 48
UP27M42SB | SS 42 IN PRO HOOD | BLOWER REQUIRED | 1751 | 1576 | 0 26715 22943 7 | 54
UP27M48SB | SS 48 IN PRO HOOD | BLOWER REQUIRED | 1856 | 1670 | 0 26715 22944 4 | 60
WBF4I30SB | SS 30 IN CHIMNEY HOOD/450 CFM |  | 1198.67 | 1079 | 0 26715 20493 9 | 39
WBF4I36SB | SS 36 IN CHIMNEY HOOD/450 CFM |  | 1257.67 | 1132 | 0 26715 20494 6 | 41
WC34E90SB | SS 35-7/16 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 1526 | 1373 | 0 26715 22712 9 | 45
WC34IQ90SB | SS 35-7/16 IN CHIMNEY HOOD | W/IQ6 INT BLOWER | 1808 | 1627 | 0 26715 22711 2 | 49
WC35E90SB | SS 35-7/16 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 1550 | 1395 | 0 26715 22714 3 | 45
WC35IQ90SB | SS 35-7/16 IN CHIMNEY HOOD | W/IQ6 INT BLOWER | 1832 | 1649 | 0 26715 22713 6 | 50
WC45E90SB | SS 35-7/16 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 1713 | 1542 | 0 26715 22732 7 | 58
WC45IQ90SB | SS 35-7/16 IN CHIMNEY HOOD | W/IQ6 INT BLOWER | 2076 | 1868 | 0 26715 22731 0 | 63
WC53I30BLS | BL SS 30 IN CHIMNEY HOOD | INCLUDES 550CFM INTERNAL CENTRIFUGAL BLOWER | 1447 | 1302 | 0 26715 25369 2 | 59
WC53I36BLS | BL SS 36 IN CHIMNEY HOOD | INCLUDES 550CFM INTERNAL CENTRIFUGAL BLOWER | 1505 | 1355 | 0 26715 25370 8 | 64
WC638 | 3-1/4 IN X 14 IN WALL CAP |  | 76 | 68 | 0 26715 17212 2 | 4
WCPI | SS WALL-MOUNTED REMOTE CONTROL |  | 122 | 110 | 0 26715 15776 1 | 2
WP28M30SB | SS 30 IN PRO HOOD | BLOWER REQUIRED | 1229 | 1106 | 0 26715 22931 4 | 56
WP28M36SB | SS 36 IN PRO HOOD | BLOWER REQUIRED | 1359 | 1223 | 0 26715 22932 1 | 60
WP28M42SB | SS 42 IN PRO HOOD | BLOWER REQUIRED | 1476 | 1328 | 0 26715 22933 8 | 72
WP28M48SB | SS 48 IN PRO HOOD | BLOWER REQUIRED | 1530 | 1377 | 0 26715 22934 5 | 74
WP28M54SB | SS 54 IN PRO HOOD | BLOWER REQUIRED | 1650 | 1485 | 0 26715 22935 2 | 87
WP28M60SB | SS 60 IN PRO HOOD | BLOWER REQUIRED | 1972 | 1775 | 0 26715 22936 9 | 96
WP29M304SB | SS 30 IN PRO HOOD 24 IN DEEP SHELL | BLOWER REQUIRED | 2162 | 1946 | 0 26715 17641 0 | 61
WP29M364SB | SS 36 IN PRO HOOD 24 IN DEEP SHELL | BLOWER REQUIRED | 2294 | 2065 | 0 26715 17642 7 | 69
WP29M424SB | SS 42 IN PRO HOOD 24 IN DEEP SHELL | BLOWER REQUIRED | 2507 | 2256 | 0 26715 17643 4 | 80
WP29M484SB | SS 48 IN PRO HOOD 24 IN DEEP SHELL | BLOWER REQUIRED | 2754 | 2479 | 0 26715 17644 1 | 85
WP29M544SB | SS 54 IN PRO HOOD 24 IN DEEP SHELL | BLOWER REQUIRED | 3001 | 2701 | 0 26715 17645 8 | 103
WP29M604SB | SS 60 IN PRO HOOD 24 IN DEEP SHELL | BLOWER REQUIRED | 3311 | 2980 | 0 26715 17646 5 | 107
WPB9IQT48SB | SS 48 IN CHIMNEY HOOD | INCLUDES 1200CFM IQ BLOWER | 3291 | 2962 | 0 26715 25265 7 | 100
WPD38I36SB | SS 36 IN OUTDOOR RANGE HOOD | W/SUPERPRO 1200CFM BLOWER | 1893 | 1704 | 0 26715 20393 2 | 90
WPD38I42SB | SS 42 IN OUTDOOR RANGE HOOD | W/SUPERPRO 1200CFM BLOWER | 2013 | 1812 | 7 72371 15038 6 | 100
WPD38I48SB | SS 48 IN OUTDOOR RANGE HOOD | W/SUPERPRO 1200CFM BLOWER | 2135 | 1922 | 0 26715 20394 9 | 108
WPD38I60SB | SS 60 IN OUTDOOR RANGE HOOD | W/SUPERPRO 1200CFM BLOWER | 2381 | 2143 | 0 26715 20395 6 | 136
WPD39M36SB | SS 36 IN OUTDOOR RANGE HOOD SHELL | INT OR EXT BLOWER REQUIRED | 1842 | 1658 | 0 26715 20660 5 | 90
WPD39M42SB | SS 42 IN OUTDOOR RANGE HOOD | INT OR EXT BLOWER REQUIRED | 1959 | 1763 | 7 72371 15037 9 | 100
WPD39M48SB | SS 48 IN OUTDOOR RANGE HOOD SHELL | INT OR EXT BLOWER REQUIRED | 2075 | 1868 | 0 26715 20661 2 | 108
WPD39M60SB | SS 60 IN OUTDOOR RANGE HOOD SHELL | INT OR EXT BLOWER REQUIRED | 2319 | 2087 | 0 26715 20662 9 | 136
WPP9E36SB | SS 36 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 2173 | 1956 | 0 26715 22721 1 | 54
WPP9E42SB | SS 42 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 2343 | 2109 | 0 26715 22722 8 | 63
WPP9E48SB | SS 48 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 2698 | 2428 | 0 26715 22723 5 | 74
WPP9E54SB | SS 54 IN CHIMNEY HOOD | IN-LINE OR EXT BLOWER REQUIRED | 2868 | 2581 | 0 26715 22724 2 | 82
WPP9IQ36SB | SS 36 IN CHIMNEY HOOD | W/IQ6 INT BLOWER | 2173 | 1956 | 0 26715 22715 0 | 58
WPP9IQ42SB | SS 42 IN CHIMNEY HOOD | W/IQ6 INT BLOWER | 2343 | 2109 | 0 26715 22717 4 | 67
WPP9IQT36SB | SS 36 IN CHIMNEY HOOD | W/IQ12 INT BLOWER | 2929 | 2636 | 0 26715 22716 7 | 63
WPP9IQT42SB | SS 42 IN CHIMNEY HOOD | W/IQ12 INT BLOWER | 3051 | 2746 | 0 26715 22718 1 | 71
WPP9IQT48SB | SS 48 IN CHIMNEY HOOD | W/IQ12 INT BLOWER | 3286 | 2957 | 0 26715 22719 8 | 78
WPP9IQT54SB | SS 54 IN CHIMNEY HOOD | W/IQ12 INT BLOWER | 3454 | 3109 | 0 26715 22720 4 | 86
WTT32I30SB | SS 30 IN CHIMNEY HOOD | W/600CFM INT BLOWER | 877 | 789 | 0 26715 20883 8 | 50
WTT32I330SB | SS 30 IN CHIMNEY HOOD | INCLUDES 300CFM INTERNAL CENTRIFUGAL BLOWER | 857 | 771 | 0 26715 25468 2 | 50
WTT32I336SB | SS 36 IN CHIMNEY HOOD | INCLUDES 300CFM INTERNAL CENTRIFUGAL BLOWER | 906 | 815 | 0 26715 25469 9 | 54
WTT32I342SB | SS 42 IN CHIMNEY HOOD | INCLUDES 300CFM INTERNAL CENTRIFUGAL BLOWER | 1039 | 935 | 0 26715 25470 5 | 59
WTT32I36SB | SS 36 IN CHIMNEY HOOD | W/600CFM INT BLOWER | 923 | 831 | 0 26715 20884 5 | 53
WTT32I42SB | SS 42 IN CHIMNEY HOOD | W/600CFM INT BLOWER | 1057 | 951 | 0 26715 20885 2 | 59
WTT32I48SB | SS 48 IN CHIMNEY HOOD | W/1200CFM INT BLOWER | 1402 | 1262 | 0 26715 20886 9 | 79